## ITEM
Category | Item | Unit
Lug | Lug Copper 10 sqmm | NOS
Lug | Lug Copper 16 sqmm | NOS
Lug | Lug Copper 25 sqmm | NOS
Lug | Lug Copper 35 sqmm | NOS
Lug | Lug Copper 50 sqmm | NOS
Lug | Lug Copper 70 sqmm | NOS
Lug | Lug Copper 95 sqmm | NOS
Lug | Lug Copper 120 sqmm | NOS
Lug | Lug Copper 150 sqmm | NOS
Lug | Lug Copper 185 sqmm | NOS
Lug | Lug Copper 240 sqmm | NOS
Lug | Lug Copper 300 sqmm | NOS
Lug | Lug Copper 400 sqmm | NOS
Lug | Lug Copper 500 sqmm | NOS
Lug | Lug Copper 630 sqmm | NOS
Lug | Lug Aluminium 10 sqmm | NOS
Lug | Lug Aluminium 16 sqmm | NOS
Lug | Lug Aluminium 25 sqmm | NOS
Lug | Lug Aluminium 35 sqmm | NOS
Lug | Lug Aluminium 50 sqmm | NOS
Lug | Lug Aluminium 70 sqmm | NOS
Lug | Lug Aluminium 95 sqmm | NOS
Lug | Lug Aluminium 120 sqmm | NOS
Lug | Lug Aluminium 150 sqmm | NOS
Lug | Lug Aluminium 185 sqmm | NOS
Lug | Lug Aluminium 240 sqmm | NOS
Lug | Lug Aluminium 300 sqmm | NOS
Lug | Lug Aluminium 400 sqmm | NOS
Lug | Lug Aluminium 500 sqmm | NOS
Lug | Lug Aluminium 630 sqmm | NOS
Lug | Lug Bi-Metallic 25 sqmm | NOS
Lug | Lug Bi-Metallic 35 sqmm | NOS
Lug | Lug Bi-Metallic 50 sqmm | NOS
Lug | Lug Bi-Metallic 70 sqmm | NOS
Lug | Lug Bi-Metallic 95 sqmm | NOS
Lug | Lug Bi-Metallic 120 sqmm | NOS
Lug | Lug Bi-Metallic 150 sqmm | NOS
Lug | Lug Bi-Metallic 185 sqmm | NOS
Lug | Lug Bi-Metallic 240 sqmm | NOS
Lug | Lug Bi-Metallic 300 sqmm | NOS
Lug | Lug Bi-Metallic 400 sqmm | NOS
Lug | Lug Bi-Metallic 500 sqmm | NOS
Lug | Lug Bi-Metallic 630 sqmm | NOS
Lug | Lug Copper 0.5 sqmm ring type | NOS
Lug | Lug Copper 0.5 sqmm pin type | NOS
Lug | Lug Copper 0.5 sqmm fork type | NOS
Lug | Lug Copper 1 sqmm ring type | NOS
Lug | Lug Copper 1 sqmm pin type | NOS
Lug | Lug Copper 1 sqmm fork type | NOS
Lug | Lug Copper 1.5 sqmm ring type | NOS
Lug | Lug Copper 1.5 sqmm pin type | NOS
Lug | Lug Copper 1.5 sqmm fork type | NOS
Lug | Lug Copper 2.5 sqmm ring type | NOS
Lug | Lug Copper 2.5 sqmm pin type | NOS
Lug | Lug Copper 2.5 sqmm fork type | NOS
Lug | Lug Copper 4 sqmm ring type | NOS
Lug | Lug Copper 4 sqmm pin type | NOS
Lug | Lug Copper 4 sqmm fork type | NOS
Lug | Lug Copper 6 sqmm ring type | NOS
Lug | Lug Copper 6 sqmm pin type | NOS
Lug | Lug Copper 6 sqmm fork type | NOS
Lug | RJ 45 pins | NOS
Lug | RS 485 cable connectors | NOS
Gland | Gland DBW-01SS | NOS
Gland | Gland DBW-01S | NOS
Gland | Gland DBW-01 | NOS
Gland | Gland DBW-01A | NOS
Gland | Gland DBW-02 | NOS
Gland | Gland DBW-02A | NOS
Gland | Gland DBW-03 | NOS
Gland | Gland DBW-04 | NOS
Gland | Gland DBW-04A | NOS
Gland | Gland DBW-05 | NOS
Gland | Gland DBW-05A | NOS
Gland | Gland DBW-06 | NOS
Gland | Gland DBW-06A | NOS
Gland | Gland DBW-07 | NOS
Gland | Gland DBW-08 | NOS
Gland | Gland DBW-09 | NOS
Gland | Gland DBW-010 | NOS
Gland | Gland DBW-010A | NOS
Gland | Gland DBW-011A | NOS
Gland | Gland DBW-011 | NOS
Gland | Gland DBW-012 | NOS
Gland | Gland DBW-013A | NOS
Gland | Gland DBW-013 | NOS
Gland | Gland DBW-014 | NOS
Gland | Gland DBW-015 | NOS
Gland | Gland DBW-016 | NOS
Hardware | SS304-M8X30 Hex Bolt & Nut With 2PL washer,1SP washer | SET
Hardware | HDG M8X30 Hex Bolt & Nut With 2PL washer,1SP washer | SET
Hardware | ZINC PLATED-M8X30 Hex Bolt & Nut With 2PL washer,1SP washer | SET
Hardware | SS304-M10X30 Hex Bolt & Nut With 2PL washer,1SP washer | SET
Hardware | HDG-M10X30 Hex Bolt & Nut With 2PL washer,1SP washer | SET
Hardware | ZINC PLATED-M10X30 Hex Bolt & Nut With 2PL washer,1SP washer | SET
Hardware | SS304-M12X30 Hex Bolt & Nut With 2PL washer,1SP washer | SET
Hardware | HDG-M12X30 Hex Bolt & Nut With 2PL washer,1SP washer | SET
Hardware | ZINC PLATED-M12X30 Hex Bolt & Nut With 2PL washer,1SP washer | SET
Hardware | SS304-M8X25 Hex Bolt & Nut With 2PL washer,1SP washer | SET
Hardware | HDG M8X25 Hex Bolt & Nut With 2PL washer,1SP washer | SET
Hardware | ZINC PLATED-M8X25 Hex Bolt & Nut With 2PL washer,1SP washer | SET
Hardware | SS304-M10X25 Hex Bolt & Nut With 2PL washer,1SP washer | SET
Hardware | HDG-M10X25 Hex Bolt & Nut With 2PL washer,1SP washer | SET
Hardware | ZINC PLATED-M10X25 Hex Bolt & Nut With 2PL washer,1SP washer | SET
Hardware | SS304-M12X25 Hex Bolt & Nut With 2PL washer,1SP washer | SET
Hardware | HDG-M12X25 Hex Bolt & Nut With 2PL washer,1SP washer | SET
Hardware | ZINC PLATED-M12X25 Hex Bolt & Nut With 2PL washer,1SP washer | SET
Hardware | SS304-M8X35 Hex Bolt & Nut With 2PL washer,1SP washer | SET
Hardware | HDG M8X35 Hex Bolt & Nut With 2PL washer,1SP washer | SET
Hardware | ZINC PLATED-M8X35 Hex Bolt & Nut With 2PL washer,1SP washer | SET
Hardware | SS304-M10X35 Hex Bolt & Nut With 2PL washer,1SP washer | SET
Hardware | HDG-M10X35 Hex Bolt & Nut With 2PL washer,1SP washer | SET
Hardware | ZINC PLATED-M10X35 Hex Bolt & Nut With 2PL washer,1SP washer | SET
Hardware | SS304-M12X35 Hex Bolt & Nut With 2PL washer,1SP washer | SET
Hardware | HDG-M12X35 Hex Bolt & Nut With 2PL washer,1SP washer | SET
Hardware | ZINC PLATED-M12X35 Hex Bolt & Nut With 2PL washer,1SP washer | SET
Hardware | SS304-M4X20 Hex Bolt & Nut With 2PL washer,1SP washer | SET
Hardware | HDG M4X20 Hex Bolt & Nut With 2PL washer,1SP washer | SET
Hardware | ZINC PLATED-M4X20 Hex Bolt & Nut With 2PL washer,1SP washer | SET
Hardware | SS304-M6X25 Hex Bolt & Nut With 2PL washer,1SP washer | SET
Hardware | HDG M6X25 Hex Bolt & Nut With 2PL washer,1SP washer | SET
Hardware | ZINC PLATED-M6X25 Hex Bolt & Nut With 2PL washer,1SP washer | SET
Hardware | M8 Serrated Washer | NOS
MC4 Connector | MC4 Connector Male-Staubli | NOS
MC4 Connector | MC4 Connector Female-Staubli | NOS
MC4 Connector | MC4 Connector Male-Elcom | NOS
MC4 Connector | MC4 Connector Female-Elcom | NOS
DC Cable | DC Cable 1CX4 sqmm Black | MTR
DC Cable | DC Cable 1CX4 sqmm Black with Red | MTR
DC Cable | DC Cable 1CX6 sqmm Black | MTR
DC Cable | DC Cable 1CX6 sqmm Black with Red | MTR
Route markers | Route markers LT Cable | NOS
Route markers | Route markers HT Cable | NOS
Route markers | Route markers DC Cable | NOS
Caution Tape | Caution tape 6 inch | MTR
Caution Tape | Caution tape 12 inch | MTR
Earthing | Earthing Strip GI - 25 x 3mm | KG
Earthing | Earthing Strip GI - 25 x 5mm | KG
Earthing | Earthing Strip GI - 50x 5mm | KG
Earthing | Earthing Strip GI - 25 x 6mm | KG
Earthing | Earthing Strip GI - 25 x 6mm | KG
Earthing | Earthing Strip GI - 32 x 6mm | KG
Earthing | Earthing Strip GI - 40 x 5mm | KG
Earthing | Earthing Strip GI - 40 x 6mm | KG
Earthing | Earthing Strip GI - 50 x 6mm | KG
Earthing | Earthing Strip GI - 75 x 6mm | KG
Earthing | Earthing Strip GI - 50 x 8mm | KG
Earthing | Earthing Strip GI - 65 x 8mm | KG
Earthing | Earthing Strip GI - 75 x 8mm | KG
Earthing | Earthing Strip GI - 50 x 10mm | KG
Earthing | Earthing Strip GI - 63 x 10mm | KG
Earthing | Earthing Strip GI - 75 x 10mm | KG
Earthing | Earthing Strip GI - 75 x 12mm | KG
Earthing | Earthing Strip Cu - 20 x 3mm | KG
Earthing | Earthing Strip Cu - 25 x 3mm | KG
Earthing | Earthing Strip Cu - 25 x 4mm | KG
Earthing | Earthing Strip Cu - 25 x 5mm | KG
Earthing | Earthing Strip Cu - 25 x 6mm | KG
Earthing | Earthing Strip Cu - 32 x 3mm | KG
Earthing | Earthing Strip Cu - 32 x 6mm | KG
Earthing | Earthing Strip Cu - 38 x 6mm | KG
Earthing | Earthing Strip Cu - 40 x 6mm | KG
Earthing | Earthing Strip Cu - 50 x 3mm | KG
Earthing | Earthing Strip Cu - 50 x 5mm | KG
Earthing | Earthing Strip Cu - 50 x 6mm | KG
Earthing | Earthing Strip Cu - 50 x 8mm | KG
Earthing | Earthing Strip Cu - 50 x 10mm | KG
Earthing | Earthing Strip Cu - 75 x 6mm | KG
Earthing | Earthing Strip Cu - 75 x 8mm | KG
Earthing | Earthing Strip Cu - 125 x 10mm | KG
Cable | Cable 1CX4 sqmm flexible cu insulated (green) | MTR
Cable | Cable 1CX6 sqmm flexible cu insulated (green) | MTR
Cable | Cable 1CX10 sqmm flexible cu insulated (green) | MTR
Cable | Cable 1CX16 sqmm flexible cu insulated (green) | MTR
Cable | Cable 1CX25 sqmm flexible cu insulated (green) | MTR
Cable | Cable 1CX35 sqmm flexible cu insulated (green) | MTR
Cable | Cable 1CX50 sqmm flexible cu insulated (green) | MTR
Cable | Cable 1CX70 sqmm flexible cu insulated (green) | MTR
Cable | Cable 1CX95 sqmm flexible cu insulated (green) | MTR
Cable | Cable 19C x 2.5 Sqmm insulated copper armoured | MTR
Cable | Cable 12F armoured unitube single sheath, single mode type Fiber optics | MTR
Cable | Cable 2C x 1.5 sqmm cu fleixble | MTR
Cable | Cable Cat 6 | MTR
Cable | Cable RS485 ,Twisted Pair armoured | MTR
Cable | Cable 16C x 2.5 sqmm copper armoured | MTR
Cable | Cable 4Cx16 sqmm insulated aluminium armoured | MTR
Cable | Cable 16Cx1.5 sqmm insulated copper armoured | MTR
Cable | Cable 4C x 25 sq.mm. Insulated copper armoured | MTR
Cable | Cable 3C x 35 sq.mm. Insulated aluminium armoured | MTR
Cable | Cable 4C x 2.5 sq.mm. Insulated copper armoured | MTR
Cable | Cable 3C x 2.5 sq.mm. Insulated aluminium flexible | MTR
Cable | Cable 3C x 35 sq.mm. Insulated aluminium armoured | MTR
Cable | Cable 3C x 2.5 sq.mm. Insulated copper armoured | MTR
Cable | Cable 2C x 6 sq.mm insulated copper armoured | MTR
Cable | Cable 4C x 10 sq.mm. Insulated copper armoured | MTR
Cable | Cable 4C x 10 sq.mm. Insulated aluminium armoured | MTR
Cable | Cable 8C x 2.5 sq.mm. Insulated copper armoured | MTR
Cable | Cable 6C x 2.5 sq.mm. Insulated copper armoured | MTR
Cable | Cable 10C x 1.5 sq.mm. Insulated copper armoured | MTR
Cable | Cable 6C x 3 sq.mm. Insulated copper armoured | MTR
Cable | Cable 4C x 6 sq.mm. Insulated aluminium armoured | MTR
Cable | Cable 12C x 2.5sq.mm. Insulated copper armoured | MTR
Lightning Arrester | Lightning Arrester ESE LA (107 Mtr Radius) with GI Mast (7 Mtr, 50 mm Dia), Insulator ESE LA, Test Link Box (Double Bus Bar), and 6-Digit Strike Counter & accessories | SET
Lightning Arrester | ESE type lightning arrester (107 ms radial range& 8Mtr height) with mounting pole, counter and test link, support wire. | SET
Lightning Arrester | ESE type lightning arrester (107 ms radial range& 9Mtr height) with mounting pole, counter and test link, support wire. | SET
Earthing | Earthing Rod 17.2mm dia, 3000mm Long Cu bonded electrode. | NOS
Earthing | Bentonet Powder | BAG
Earthing | Charcol | BAG
Earthing | Salt | BAG
Earthing | Earthing Name plate | NOS
Earthing | Earthing Chamber | NOS
Earthing | C.I pipe electrode 110mm dia, 3000mm Long with clamp and funnel. | NOS
Earthing | C.I pipe electrode 150mm dia, 3000mm Long with clamp and funnel. | NOS
Earthing | Earthing Electrode GI 50mm dia 3 mtr long | NOS
Cable Tie | Cable Tie 100mm | PKT
Cable Tie | Cable Tie 150mm | PKT
Cable Tie | Cable Tie 200mm | PKT
Cable Tie | Cable Tie 250mm | PKT
Cable Tie | Cable Tie 300mm | PKT
Cable Tie | Cable Tie 350mm | PKT
Cable Tie | Cable Tie 400mm | PKT
Cable Tie | Cable Tie 450mm | PKT
Cable Tie | Cable Tie 500mm | PKT
Cable Tie | Stainless Steel Cable Tie_300mm | PKT
Cable Tie | Stainless Steel Cable Tie_450mm | PKT
Cable Tie | Stainless Steel Cable Tie_500mm | PKT
Trefoil clamp | Trefoil Clamps 32mm | NOS
Trefoil clamp | Trefoil Clamps 35mm | NOS
Trefoil clamp | Trefoil Clamps 36mm | NOS
Trefoil clamp | Trefoil Clamps 40mm | NOS
Trefoil clamp | Trefoil Clamps 46mm | NOS
Trefoil clamp | Trefoil Clamps 50mm | NOS
Trefoil clamp | Trefoil Clamps 54mm | NOS
Trefoil clamp | Trefoil Clamps 58mm | NOS
Trefoil clamp | Trefoil Clamps 62mm | NOS
Trefoil clamp | Trefoil Clamps 63mm | NOS
Ferrules | Ferrules | SET
cable tags | cable tags | SET
FIRE& SAFETY | 11KV Danger Boards | NOS
FIRE& SAFETY | 22KV Danger Boards | NOS
FIRE& SAFETY | 33KV Danger Boards | NOS
FIRE& SAFETY | 1000V Danger Boards | NOS
FIRE& SAFETY | 415V Danger Boards | NOS
FIRE& SAFETY | 800V Danger Boards | NOS
FIRE& SAFETY | First aid boxes | NOS
FIRE& SAFETY | Caution boards | NOS
FIRE& SAFETY | Sand bucket with stand (Each set with 3 buckets) and canopy | SET
FIRE& SAFETY | 4kG ABC type Fire extinguishers | NOS
FIRE& SAFETY | 6kG ABC type Fire extinguishers | NOS
FIRE& SAFETY | 9kG ABC type Fire extinguishers | NOS
FIRE& SAFETY | 4.5kG Co2 type Fire extinguishers | NOS
FIRE& SAFETY | 9kG Co2 type Fire extinguishers | NOS
FIRE& SAFETY | 6kG foam type Fire extinguishers | NOS
FIRE& SAFETY | 9kG foam type Fire extinguishers | NOS
MCS | Water tank- 10000 litre | NOS
MCS | Water tank- 5000 litre | NOS
MCS | UPVC PIPE 1 Inch | MTR
MCS | UPVC PIPE 2 Inch | MTR
MCS | UPVC PIPE 1/2 Inch | MTR
MCS | 1HP Booster Pump | NOS
MCS | 1.5HP Booster Pump | NOS
MCS | 2HP Booster Pump | NOS
MCS | Pump Cover | NOS
MCS | Pressure Tank | NOS
MCS | Pressure Gauge | NOS
MCS | Water flow meter | NOS
MCS | uPVC Coupler_1 inch | NOS
MCS | uPVC Elbow 90_1 inch | NOS
MCS | uPVC Equal Tee_1 inch | NOS
MCS | uPVC Union_1 inch | NOS
MCS | uPVC Tank Connector_1 inch | NOS
MCS | uPVC M.T.A. -Brass_1 inch | NOS
MCS | Ball Valve_1 inch | NOS
MCS | Hose Pipe Nipple_1 inch | NOS
MCS | uPVC Coupler_2 inch | NOS
MCS | uPVC Elbow 90_2 inch | NOS
MCS | uPVC Equal Tee_2 inch | NOS
MCS | uPVC Union_2 inch | NOS
MCS | uPVC Tank Connector_2 inch | NOS
MCS | uPVC M.T.A. -Brass_2 inch | NOS
MCS | Ball Valve_2 inch | NOS
MCS | Hose Pipe Nipple_2 inch | NOS
MCS | uPVC Coupler_1/2 inch | NOS
MCS | uPVC Elbow 90_1/2 inch | NOS
MCS | uPVC Equal Tee_1/2 inch | NOS
MCS | uPVC Union_1/2 inch | NOS
MCS | uPVC Tank Connector_1/2 inch | NOS
MCS | uPVC M.T.A. -Brass_1/2 inch | NOS
MCS | Ball Valve_1/2 inch | NOS
MCS | Hose Pipe Nipple_1/2 inch | NOS
MCS | NRV | NOS
MCS | Teflon Tape | NOS
MCS | Starter | NOS
Cable Tray | Gi Ladder type Cable Tray With 300x50x3mm Coupler Plate And Nut Bolt C channel Running Space 300mm | MTR
Cable Tray | Gi Ladder type Cable Tray 1000x50x3mm With Coupler Plate And Nut Bolt C channel Running Space 300mm | MTR
Cable Tray | Gi Ladder Type Cable Tray 300x50x2mm With Coupler Plate And Nut Bolt C channel Running Space 300mm | MTR
Cable Tray | Gi Ladder Type Cable Tray 650x50x2mm With Coupler Plate And Nut Bolt C channel Running Space 300mm | MTR
Cable Tray | Gi Ladder Type Cable Tray 600x100x2mm With Coupler Plate And Nut Bolt C channel Running Space 300mm | MTR
Cable Tray | Gi Ladder Type Cable Tray 750x100x2mm With Coupler Plate And Nut Bolt C channel Running Space 300mm | MTR
Cable Tray | Gi Ladder Type Cable Tray 600x75x2mm With Coupler Plate And Nut Bolt C channel Running Space 300mm | MTR
Cable Tray | Gi Ladder Type Cable Tray 450x100x2mm With Coupler Plate And Nut Bolt C channel Running Space 300mm | MTR
Cable Tray | Gi Ladder Type Cable Tray 300x100x2mm With Coupler Plate And Nut Bolt C channel Running Space 300mm | MTR
Cable Tray | Gi Ladder Type Cable Tray 250x150x2mm With Coupler Plate And Nut Bolt C channel Running Space 300mm | MTR
Cable Tray | Gi Ladder Type Cable Tray 200x100x2mm With Coupler Plate And Nut Bolt C channel Running Space 300mm | MTR
Cable Tray | Gi Ladder Type Cable Tray 750x150x2mm With Coupler Plate And Nut Bolt C channel Running Space 300mm | MTR
Cable Tray | Gi Perforated Cable Tray 300x50x2mm With Cover With Coupler Plate And Nut Bolt | MTR
Cable Tray | Gi Perforated Cable Tray 150x50x1.2mm With Cover and Coupler Plate and nut Bolt | MTR
Cable Tray | Gi Perforated Cable Tray 100x50x1.2mm With Cover and Coupler Plate and nut bolt | MTR
Cable Tray | Gi Perforated Cable Tray 150x65x1.2mm With Cover With Coupler Plate and nut Bolt | MTR
Cable Tray | Gi Perforated Cable Tray 200x65x1.2mm With Cover With Coupler Plate and nut Bolt | MTR
Cable Tray | Gi Perforated Cable Tray 300x65x1.2mm With Cover With Coupler Plate and nut Bolt | MTR
Cable Tray | Gi Perforated Cable Tray 50x50x1.2mm With Cover With Coupler Plate and nut Bolt | MTR
Dwc Conduit | HDPE DWC Pipe_OD-40mm | MTR
Dwc Conduit | HDPE DWC Pipe_OD-63mm | MTR
Dwc Conduit | DWC Coupler_For HDPE DWC Pipe_OD-63mm | NOS
Dwc Conduit | DWC Coupler_For HDPE DWC Pipe_OD-40mm | NOS
Dwc Conduit | DWC Elbow_For HDPE DWC Pipe_OD-63mm | NOS
Dwc Conduit | DWC Elbow_For HDPE DWC Pipe_OD-40mm | NOS
Dwc Conduit | DWC Tee_For HDPE DWC Pipe_OD-63mm | NOS
Dwc Conduit | DWC Tee_For HDPE DWC Pipe_IOD-40mm | NOS
Dwc Conduit | 63mm O Rings | NOS
Dwc Conduit | 40mm O Rings | NOS
Dwc Conduit | 63MM OD X 40MM OD REDUCER | NOS
Fabrication | Silver Finish Aluminum Paint | LTR
Fabrication | Red Oxide Primer Paint | LTR
Fabrication | Yellow Oil Paint | LTR
Fabrication | Black Oil Paint | LTR
Fabrication | Bituminous Paint | LTR
Fabrication | Paint Thinner | LTR
Insulation tape | Insulation Tape_Black | NOS
Insulation tape | Insulation Tape_White | NOS
Insulation tape | Insulation Tape_Blue | NOS
Insulation tape | Insulation Tape_Green | NOS
Insulation tape | Insulation Tape_Red | NOS
Insulation tape | Insulation Tape_Yellow | NOS
Sleeves | Heat Shrinkable Sleeve-40/20mm_Blue | MTR
Sleeves | Heat Shrinkable Sleeve-40/20mm_Red | MTR
Sleeves | Heat Shrinkable Sleeve-40/20mm_Yellow | MTR
Sleeves | Heat Shrinkable Sleeve-40/20mm_Black | MTR
Sleeves | Heat Shrinkable Sleeve-50/25mm_Blue | MTR
Sleeves | Heat Shrinkable Sleeve-50/25mm_Red | MTR
Sleeves | Heat Shrinkable Sleeve-50/25mm_Yellow | MTR
Sleeves | Heat Shrinkable Sleeve-50/25mm_Black | MTR
Sleeves | Heat Shrinkable Sleeve-30/15mm_Blue | MTR
Sleeves | Heat Shrinkable Sleeve-30/15mm_Red | MTR
Sleeves | Heat Shrinkable Sleeve-30/15mm_Yellow | MTR
Sleeves | Heat Shrinkable Sleeve-30/15mm_Black | MTR
Street Light | 40W LED with light fixture, Cable termination box, earthing coil, other accessories & Mounting Pole- for street light (5.0Mtr pole) | SET
Street Light | 40W LED with light fixture, Cable termination box, earthing coil, other accessories & Mounting Pole- for Inverter Station (6 Mtr) | SET
Street Light | Strret Light Gi Pole, 3.5 Mtr Galvanize Pole, 76 mm OD, Base Plate 150*150*10m, Single Bracket, Frp Box, 16*600 Bolt | NOS
Termination kit | 3.3kv/6.6kv 3CX185sqmm indoor termination kit | NOS
Termination kit | 3.3kv/6.6kv 3CX185sqmm outdoor termination kit | NOS
Termination kit | 3.3kv/6.6kv 3CX185sqmm straight joint kit | NOS
Termination kit | 3.3kv/6.6kv 3CX240sqmm indoor termination kit | NOS
Termination kit | 3.3kv/6.6kv 3CX240sqmm outdoor termination kit | NOS
Termination kit | 3.3kv/6.6kv 3CX240sqmm straight joint kit | NOS
Termination kit | 3.3kv/6.6kv 3CX300sqmm indoor termination kit | NOS
Termination kit | 3.3kv/6.6kv 3CX300sqmm outdoor termination kit | NOS
Termination kit | 3.3kv/6.6kv 3CX300sqmm straight joint kit | NOS
Termination kit | 3.3kv/6.6kv 3CX400sqmm indoor termination kit | NOS
Termination kit | 3.3kv/6.6kv 3CX400sqmm outdoor termination kit | NOS
Termination kit | 3.3kv/6.6kv 3CX400sqmm straight joint kit | NOS
Termination kit | 6.6kv/11kv 3CX185sqmm indoor termination kit | NOS
Termination kit | 6.6kv/11kv 3CX185sqmm outdoor termination kit | NOS
Termination kit | 6.6kv/11kv 3CX185sqmm straight joint kit | NOS
Termination kit | 6.6kv/11kv 3CX240sqmm indoor termination kit | NOS
Termination kit | 6.6kv/11kv 3CX240sqmm outdoor termination kit | NOS
Termination kit | 6.6kv/11kv 3CX240sqmm straight joint kit | NOS
Termination kit | 6.6kv/11kv 3CX300sqmm indoor termination kit | NOS
Termination kit | 6.6kv/11kv 3CX300sqmm outdoor termination kit | NOS
Termination kit | 6.6kv/11kv 3CX300sqmm straight joint kit | NOS
Termination kit | 6.6kv/11kv 3CX400sqmm indoor termination kit | NOS
Termination kit | 6.6kv/11kv 3CX400sqmm outdoor termination kit | NOS
Termination kit | 6.6kv/11kv 3CX400sqmm straight joint kit | NOS
Termination kit | 11kv/22kv 3CX185sqmm indoor termination kit | NOS
Termination kit | 11kv/22kv 3CX185sqmm outdoor termination kit | NOS
Termination kit | 11kv/22kv 3CX185sqmm straight joint kit | NOS
Termination kit | 11kv/22kv 3CX240sqmm indoor termination kit | NOS
Termination kit | 11kv/22kv 3CX240sqmm outdoor termination kit | NOS
Termination kit | 11kv/22kv 3CX240sqmm straight joint kit | NOS
Termination kit | 11kv/22kv 3CX300sqmm indoor termination kit | NOS
Termination kit | 11kv/22kv 3CX300sqmm outdoor termination kit | NOS
Termination kit | 11kv/22kv 3CX300sqmm straight joint kit | NOS
Termination kit | 11kv/22kv 3CX400sqmm indoor termination kit | NOS
Termination kit | 11kv/22kv 3CX400sqmm outdoor termination kit | NOS
Termination kit | 11kv/22kv 3CX400sqmm straight joint kit | NOS
Termination kit | 33kv 3CX185sqmm indoor termination kit | NOS
Termination kit | 33kv 3CX185sqmm outdoor termination kit | NOS
Termination kit | 33kv 3CX185sqmm straight joint kit | NOS
Termination kit | 33kv 3CX240sqmm indoor termination kit | NOS
Termination kit | 33kv 3CX240sqmm outdoor termination kit | NOS
Termination kit | 33kv 3CX240sqmm straight joint kit | NOS
Termination kit | 33kv 3CX300sqmm indoor termination kit | NOS
Termination kit | 33kv 3CX300sqmm outdoor termination kit | NOS
Termination kit | 33kv 3CX300sqmm straight joint kit | NOS
Termination kit | 33kv 3CX400sqmm indoor termination kit | NOS
Termination kit | 33kv 3CX400sqmm outdoor termination kit | NOS
Termination kit | 33kv 3CX400sqmm straight joint kit | NOS
Fabrication | MS Angle_20x20x3mm | KG
Fabrication | MS Angle_25x25x3mm | KG
Fabrication | MS Angle_25x25x5mm | KG
Fabrication | MS Angle_30x30x3mm | KG
Fabrication | MS Angle_35x35x5mm | KG
Fabrication | MS Angle_40x40x3mm | KG
Fabrication | MS Angle_40x40x5mm | KG
Fabrication | MS Angle_40x40x6mm | KG
Fabrication | MS Angle_50x50x5mm | KG
Fabrication | MS Angle_50x50x6mm | KG
Fabrication | MS Angle_65x65x8mm | KG
Fabrication | MS Angle_65x65x10mm | KG
Fabrication | MS Angle_75x75x5mm | KG
Fabrication | MS Angle_75x75x6mm | KG
Fabrication | MS Angle_90x90x8mm | KG
Fabrication | MS Angle_90x90x10mm | KG
Fabrication | MS Angle_100x100x6mm | KG
Fabrication | MS Angle_100x100x8mm | KG
Fabrication | MS Angle_100x100x10mm | KG
Fabrication | MS C Channel _100x50x5mm | KG
Fabrication | MS C Channel _75x40x4.8mm | KG
Fabrication | MS C Channel _125x65x5.3mm | KG
Fabrication | MS C Channel _125x65x6mm | KG
Fabrication | MS C Channel _150x75x5.7mm | KG
Fabrication | MS Square Tube Pipe_30X30X2mm | KG
Fabrication | MS Square Tube Pipe_30X30X3mm | KG
Fabrication | MS Square Tube Pipe_40X40X2mm | KG
Fabrication | MS Square Tube Pipe_40X40X3mm | KG
Fabrication | MS Square Tube Pipe_40X40X5mm | KG
Fabrication | MS Square Tube Pipe_50X50X2mm | KG
Fabrication | MS Square Tube Pipe_50X50X3mm | KG
Fabrication | MS Square Tube Pipe_50X50X5mm | KG
Fabrication | MS Square Tube Pipe_60X60X4mm | KG
Fabrication | MS Square Tube Pipe_60X60X6mm | KG
Fabrication | MS Flat_25x3mm | KG
Fabrication | MS Flat_25x5mm | KG
Fabrication | MS Flat_25x6mm | KG
Fabrication | MS Flat_40x5 mm | KG
Fabrication | MS Flat_40x6 mm | KG
Fabrication | MS Flat_50x5 mm | KG
Fabrication | MS Flat_50x6 mm | KG
Fabrication | MS Flat_50x8 mm | KG
Fabrication | MS Flat_50x10 mm | KG
Fabrication | MS Flat_65x6 mm | KG
Fabrication | MS Flat_65x8 mm | KG
Fabrication | MS Flat_65x10 mm | KG
Fabrication | MS Flat_75x6 mm | KG
Fabrication | MS Flat_75x8 mm | KG
Fabrication | MS Flat_75x10 mm | KG
Fabrication | MS Pipe_NB20 | KG
Fabrication | MS Pipe_NB25 | KG
Fabrication | MS Pipe_NB32 | KG
Fabrication | MS Pipe_NB40 | KG
Fabrication | Colour Coated Sheet 8 Foot | NOS
Fabrication | Colour Coated Sheet 10 Foot | NOS
Fabrication | Colour Coated Sheet 12 Foot | NOS
Fabrication | Colour Coated Sheet 14 Foot | NOS
Fabrication | Colour Coated Sheet 16 Foot | NOS
Fabrication | Colour Coated Sheet 18 Foot | NOS
Fabrication | Colour Coated Sheet 22 Foot | NOS
Fabrication | Colour Coated Sheet 24 Foot | NOS
Fabrication | SS304-Self Drilling Hex Head with Rubber Washer Screw_M8x55mm | NOS
Fabrication | SS304-Self Drilling Hex Head with Rubber Washer Screw_M8x20mm | NOS
Fabrication | SS304-Self Tapping CSK Head Screw_M6x35mm | NOS
Fabrication | SS304-Self Tapping CSK Head Screw_M6x50mm | NOS
Fabrication | SS304-Self Drilling Hex Head with Rubber Washer Screw_M6x20mm | NOS
Fabrication | Plastic Rawal Plug M8x50mm | NOS
Fabrication | Plastic Rawal Plug M6x25mm | NOS
Fabrication | Plastic Rawal Plug M6X35mm | NOS
Fabrication | Pin Type Anchor Fastner_M10x100mm | NOS
Fabrication | Pin Type Anchor Fastner_M8x70mm | NOS
Fabrication | Pin Type Anchor Fastner_M8x90mm | NOS
Fabrication | Welding Rod | NOS
Fabrication | Cutting wheel | NOS
Fabrication | Permanent Marker | NOS
Inverter Stand | Inverter Stand | NOS
UPS | 6kVA UPS | NOS
UPS | 5kVA UPS | NOS
UPS | 3kVA UPS | NOS
UPS | 2kVA UPS | NOS
UPS | UPS Battery | NOS
UPS | UPS Battery Rack | NOS
UPS | Modbus Card | NOS
UPS | Battery Interlink Cable | NOS
Earthing | Earthing Insulator 25x3mm | NOS
Earthing | Earthing Insulator 25x6mm | NOS
Earthing | Earthing Insulator 65x6mm | NOS
Rubber mat | Electrical Insulated Rubber Mat 33kv | MTR
Rubber mat | Electrical Insulated Rubber Mat 3.3kv | MTR
Civil Material | Cement OPC | BAG
Civil Material | Cement PPC | BAG
Civil Material | Fine Aggregate (River sand) | BRASS
Civil Material | Aggregate-10mm | BRASS
Civil Material | Aggregate-20mm | BRASS
Civil Material | Aggregate-40mm | BRASS
Civil Material | GSB | BRASS
Civil Material | TMT Bar_6mm | KG
Civil Material | TMT Bar_8mm | KG
Civil Material | TMT Bar_10mm | KG
Civil Material | TMT Bar_12mm | KG
Civil Material | TMT Bar_16mm | KG
Civil Material | Brick | NOS
Civil Material | Nails | KG
Civil Material | Binding Wire | KG
Civil Material | Plywood | NOS
Civil Material | Murum | BRASS
Civil Material | Gravel | BRASS
Civil Material | RCC Pipe | NOS
Civil Material | Curing Compound | LTR
IDT | IDT 1MVA | NOS
IDT | IDT 2MVA | NOS
IDT | IDT 3MVA | NOS
IDT | IDT 4MVA | NOS
IDT | IDT 5MVA | NOS
LT Panel | LT Panel | NOS
ICOG Panel | SUPPLY OF OUTDOOR TYPE [IP55] 11KV ICOG PANEL as per BOM including breaker handling trolley. | NOS
Auxiliary Panel & UPS DB | Auxiliary Panel | NOS
Auxiliary Panel & UPS DB | UPS DB | NOS
MCR Cabin | GI Portable Security Cabin. 30 x 10 x 8.6 As per attached BOM | NOS
Security Cabin | GI Portable Security Cabin 6x4x8.6ft as per approved Design & Bom | NOS
MMS | Column Post | NOS
MMS | Bracing Connecting Plate | NOS
MMS | Front Bracing | NOS
MMS | Rear Bracing | NOS
MMS | Cross Bracing | NOS
MMS | Purlin-1 | NOS
MMS | Purlin-2 | NOS
MMS | Purlin-3 | NOS
MMS | Purlin-4 | NOS
MMS | Purlin-5 | NOS
MMS | Purlin-6 | NOS
MMS | Rafter | NOS
MMS | Rafter Plate | NOS
Fencing | Stay Post | KG
Fencing | Support Left | KG
Fencing | Support Right | KG
Fencing | Fence Post | KG
Fencing | Flat | KG
Fencing | Chain Link Mesh | KG
Fencing | Barbed Wire | KG
Fencing | GI Wire | KG
Tools | CTM Machine | NOS
Tools | Compactor Machine | NOS
Tools | Ratchet Set | NOS
Tools | Rotary Hammer Machine | NOS
Tools | Tighting Machine | NOS
Tools | Crimper 300 | NOS
Tools | Hydrollic Crimper 600 | NOS
Tools | Chopsaw Machine | NOS
Tools | Grander | NOS
Tools | Clamp meter | NOS
Tools | Multimeter | NOS
Tools | Degree Machine | NOS
Tools | Vibrator | NOS
Tools | Grass cutting machine | NOS
Tools | Torque Rinch | NOS
Tools | LT Cable Cutter | NOS
Tools | Ply Cutter Machine | NOS
Tools | Butane Gas Bottle | NOS
Tools | Butane Gas Nozzle | NOS
Tools | Blower | NOS
Tools | Plier | NOS
Tools | Knife Cutter | NOS
Tools | DC Crimper (MC4) | NOS
Tools | Allen Key Set | NOS
Tools | Screw Driver Set | NOS
Tools | Capping | NOS
Tools | Templet | NOS
Tools | Roller | NOS
Tools | Jack | NOS
Tools | Drill Machine | NOS
Tools | Stand Drill Machine | NOS
Tools | Spanner Set | NOS
Tools | Concrete Test Hammer | NOS
Tools | Slam Kone | NOS
Tools | Cube Mould Box | NOS
Tools | Hole Saw Cutter | NOS
Tools | Spirit Level | NOS
Tools | Measurement Tape | NOS

## UNIT
NOS | Numbers
SET | Set
LOT | Lot
PKT | Packet
BOX | Box
BAG | Bag
ROL | Roll
BNDL | Bundle
PCS | Pieces
PAIR | Pair
DOZ | Dozen
TRIP | Trip
JOB | Job
MTR | Meter
CM | Centimeter
KM | Kilometer
INCH | Inch
FT | Feet
SQM | Square Meter
SQMM | Square Milimeter
SQCM | Square Centimeter
SQFT | Square Feet
ACR | Acre
HEC | Hectare
LTR | Liter
KG | Kilogram
GM | Gram
MG | Miligram
MT | Metric Ton
QTL | Quintal
TON | Ton
SEC | Second
MIN | Minute
HR | Hour
DAY | Day
WK | Week
MON | Month
YR | Year
Wp | Watt
KWp | Kilowatt
MWp | Megawatt
RMT | Running Meter
PLT | Pallet
CRT | Carton
DRM | Drum
TIN | Tin
BOT | Bottle
LUMP | Lump Sum
CUM | Cubic Meter
CUFT | Cubic Feet